Department of Public Works								     Phone (978) 721-8448

Superintendent

ROOM 24, MEMORIAL BUILDING * ATHOL, MASSACHUSETTS 01331			              RICHARD P. KILHART

The following are the general requirements for conducting a fire flow in Athol.

- The person(s) requesting the fire flow test must select an engineering firm to conduct the fire flow test.  The Town will not perform the test.

- Fire flows are done during the evening, usually around 7:00 PM.

- Two representatives from the Athol Water Department must be present to operate hydrants, valves, etc.  We are obligated to compensate our employees a minimum after hours service rate of 4 hours per employee.  This cost is later billed to you on a service bill.

- Fire flows are discouraged during colder months.  However, if absolutely necessary, the cost for snow and ice control (sanding) will be added to the service bill.

- A notice must be published in our local Newspaper, The Athol Daily News, the evening before the fire flow is being conducted.  We must approve a DRAFT copy of the notice prior to submittal to the paper.  The draft can be emailed to dcooley@townofathol.org.  A sample will be provided upon request.  The telephone numbers for the Daily news are phone 413-772-0261; fax 413-930-4203; email shunter@recorder.com.

- We will need a billing address prior to the fire flow being performed.

- A copy of the final results of the fire flow shall be forwarded to this office.

Should you have any questions, please do not hesitate to contact this office at 978-721-8448.

Our fax number is 978-249-3058.

Thank You,

The Athol Department of Public Works